## ISF-AD
SMARTEMP PRODUCT SELECTION CALCULATOR
Inclined Floor Swirl Diffuser [ISF-AD]
Inputs |  |  |  | Configuration | [5 empty] | v 1.9 [05/2019]
Airflow Rate | 40 | L/s | default 40 L/s |  | I: Inclined |  | V: Vertical
[5 empty] | E: Electrical VAV |  | IV: Inclined-Vertical (default)
Maximum Total Pressure | 20 | Pa | default 20 Pa
Results
Pre-Set Setting * | - | - | - | -
Airflow Rate [L/s] | - | - | - | -
Discharge Direction
Fully Adjustable Range * | -
Airflow Rate Range [L/s] | - | -
Direction of Face Rotation
Discharge Direction
Partially Adjustable Range * | Min - Low |  | Low - Med |  | Med - High |  | High - Max
Airflow Rate Range [L/s] | 4.8157 | 21.6707 | 19.2629 | 36.1178 | 24.0786 | 40.9336 | 31.3021 | 48.1571
Direction of Face Rotation
Discharge Direction | ↑ | ↗ | ↑ | ↗ | ↑ | ↗ | ↑ | ↗
Sound
Sound Power Level [dB(A)] | 32.3971 |  | Direction for decreased airflow |  |  | ↑ Vertical discharge | Key: | Suitable | Not Suitable
Sound Pressure Level [NC] ** | 21.3971 |  | Direction for increased airflow |  |  | ↗ Inclined discharge | * | Suitable results within ± 10% of 'Airflow Rate'
[7 empty] | ** | NC per diffuser based on 1.1 m distance to occupant's ear
Refer to 'Notes ISF-AD' for product notes
| click here to see product on smartair.asia | [6 empty] | Copyright © 2019 SMARTAIR DIFFUSION













## ISF-ADequations (hidden)
Inputs
Total Pressure | 20
Type | 4 | IV
Inclined.preset
Category | 4 | IV.factor |  | Inclined.fullyadjustable
Range |  | IV.range
Calculation
getY | 5.6402 |  | -0.002917 | 0.3916 | -1.025
getSWL | 32.3971 |  | -0.1612 | 4.9416 | 9.6536
getSPL | 21.3971 | [5 empty] | P | Q
getQ_1.0 | 48.1571 |  | -0.014125 | 1.936 | 15.17 |  | 21.56 | 50
Airflow Rate Factor
Results | Q
0.05 | 2.4079
0.3 | 14.4471
0.35 | 16.855
0.55 | 26.4864
0.6 | 28.8943
0.75 | 36.1178
0.8 | 38.5257
1 | 48.1571
Result Validation
preset | 1 | 2 | 3 | 4
IV.factor.preset | #REF! | #REF! | #REF! | #REF!
IV.range.preset | #REF! | #REF! | #REF! | #REF!
Q | #REF! | #REF! | #REF! | #REF!
fullyadjustable | 1 | 2
IV.factor.fullyadjustable | #REF! | #REF!
IV.range.fullyadjustable | #REF!
Q | #REF! | #REF!
partiallyadjustable | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
IV.factor.partiallyadjustable | 0.1 | 0.45 | 0.4 | 0.75 | 0.5 | 0.85 | 0.65 | 1
IV.range.partiallyadjustable | Min - Low |  | Low - Med |  | Med - High |  | High - Max
Q | 4.8157 | 21.6707 | 19.2629 | 36.1178 | 24.0786 | 40.9336 | 31.3021 | 48.1571
Final Table
preset | - | - | - | -
Q | - | - | - | -
fullyadjustable | -
Q | - | -
partiallyadjustable | Min - Low |  | Low - Med |  | Med - High |  | High - Max
Q | 4.8157 | 21.6707 | 19.2629 | 36.1178 | 24.0786 | 40.9336 | 31.3021 | 48.1571
| ↑ | ↗ | ↑ | ↗ | ↑ | ↗ | ↑ | ↗
Sound
SWL (dBA) | 32.3971
SPL (NC) | 21.3971
[5 empty] | lower | upper
Flowrate | 40 | Buffer | 4 | 10% | 0.9 | 1.1
Selection Table
preset | Low | Med | High | Max
Q | #VALUE! | #VALUE! | #VALUE! | #VALUE!
fullyadjustable | Low - Max
Q | #VALUE! | #VALUE!
partiallyadjustable | Low - Med |  | High - Max |  | - |  | -
Q | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
Shading Table
preset | Low | Med | High | Max
Q | TRUE | TRUE | TRUE | TRUE
fullyadjustable | Low - Max
Q | TRUE | TRUE
partiallyadjustable | Low - Med |  | High - Max |  | - |  | -
Q | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
Directions | ↑ | ↗

## Notes ISF-AD
SMARTEMP PRODUCT SELECTION CALCULATOR
Inclined Floor Swirl Diffuser [ISF-AD] Notes

## ISF-ADdata (hidden)
Settings |  | Type
Inclined |  | 1 | I
Electrical VAV |  | 2 | E
Vertical |  | 3 | V
Inclined-Vertical |  | 4 | IV
Inclined
Pre-set
Fully Adjustable
Adjustable I
Adjustable II
Vertical
Pre-set
Fully Adjustable
Adjustable I
Adjustable II
Type-Factor
I.factor.preset | 0.45 | I.factor.fullyadjustable | 0.45 | I.factor.partiallyadjustable | 0.45 | V.factor.preset | 0.1 | V.factor.fullyadjustable | 0.1 | V.factor.partiallyadjustable | 0.1 | E.factor.partiallyadjustable | 0.1 | IV.factor.partiallyadjustable | 0.1
| 0.75 |  | 1 |  | 0.75 |  | 0.4 |  | 0.65 |  | 0.4 |  | 0.45 |  | 0.45
| 0.85 |  |  |  | 0.85 |  | 0.5 |  |  |  | 0.5 |  | 0.4 |  | 0.4
| 1 |  |  |  | 1 |  | 0.65 |  |  |  | 0.65 |  | 0.75 |  | 0.75
[13 empty] | 0.5 |  | 0.5
[13 empty] | 0.85 |  | 0.85
[13 empty] | 0.65 |  | 0.65
[13 empty] | 1 |  | 1
Type-Range
I.range.preset | Low | I.range.fullyadjustable | Low - Max | I.range.partiallyadjustable | Low - Med | V.range.preset | Min | V.range.fullyadjustable | Min - High | V.range.partiallyadjustable | Min - Low | E.range.partiallyadjustable | Min - Low | IV.range.partiallyadjustable | Min - Low
| Med |  |  |  | High - Max |  | Low |  |  |  | Med - High |  | Low - Med |  | Low - Med
| High | [5 empty] | Med | [5 empty] | Med - High |  | Med - High
| Max | [5 empty] | High | [5 empty] | High - Max |  | High - Max